## ESTIMATE
Nextron Estimating LLC ¦ Sample Electrical Estimate
SAMPLE FOR ILLUSTRATION ONLY. Project, quantities and prices are examples, not a quote or a real project.
Project : Two-story office building, 24,000 SF (example)
Format : Trade estimate, labor and material priced separately
Item # | Description | Quantity | Unit | Unit Cost Labor | Unit Cost Material | Total Cost Labor | Total Cost Material | Total Cost (Labor + Material) | Section Cost
Lighting
1 | 2x4 LED troffer, recessed (Type A) | 186 | EA | 62 | 118
2 | 6" LED downlight (Type B) | 74 | EA | 48 | 86
3 | LED wall pack, exterior (Type W) | 14 | EA | 95 | 210
4 | Exit sign with battery | 22 | EA | 55 | 75
5 | Occupancy sensor, ceiling mount | 48 | EA | 45 | 68
Subtotal (Lighting)
Power and Devices
6 | Duplex receptacle, 20A | 312 | EA | 38 | 9
7 | GFCI receptacle, 20A | 26 | EA | 44 | 28
8 | Single-pole switch | 64 | EA | 32 | 6
9 | Floor box with power and data | 12 | EA | 180 | 240
Subtotal (Power and Devices)
Branch Circuits
10 | 3/4" EMT with fittings | 6400 | LF | 4.1 | 1.9
11 | #12 THHN copper | 21800 | LF | 0.42 | 0.38
12 | MC cable 12/2, drops in walls | 4200 | LF | 1.3 | 1.1
Subtotal (Branch Circuits)
Distribution
13 | 800A main switchboard, 480/277V | 1 | EA | 4200 | 18500
14 | Panelboard 225A, 42 circuit | 6 | EA | 950 | 3100
15 | Dry-type transformer 75 kVA | 2 | EA | 1100 | 6400
16 | Feeder 4#500 kcmil + G in 3" EMT | 260 | LF | 38 | 64
Subtotal (Distribution)
Subtotal
| Overhead and Profit | [6 empty] | 15%
| Insurance | [6 empty] | 5%
| Contingency | [6 empty] | 5%
Total Suggested Bid
Clarifications (example): prices exclude permits, bonds and sales tax unless shown.
Quantities are measured from drawings and listed with units. Unit costs are example rates for illustration.
A real Nextron estimate is priced for your project location using RSMeans data, local supplier pricing and our cost database.