## ESTIMATE
Nextron Estimating LLC ¦ Sample Mechanical Estimate
SAMPLE FOR ILLUSTRATION ONLY. Project, quantities and prices are examples, not a quote or a real project.
Project : Three-story school addition, 36,000 SF (example)
Format : Trade estimate, labor and material priced separately
Item # | Description | Quantity | Unit | Unit Cost Labor | Unit Cost Material | Total Cost Labor | Total Cost Material | Total Cost (Labor + Material) | Section Cost
Central Plant
1 | Air-cooled chiller, 120 ton | 1 | EA | 9800 | 128000
2 | Condensing boiler, 1,500 MBH | 2 | EA | 4200 | 38500
3 | Base-mounted pump with VFD | 4 | EA | 1600 | 9200
4 | Expansion tank and air separator | 1 | LS | 1400 | 6200
Subtotal (Central Plant)
Hydronic Piping
5 | 4" steel pipe, grooved, chilled water | 640 | LF | 34 | 29
6 | 2" copper type L, heating water | 980 | LF | 22 | 19
7 | Butterfly valve 4" | 18 | EA | 180 | 420
8 | Pipe insulation, 1-1/2" | 1620 | LF | 6.5 | 5.8
Subtotal (Hydronic Piping)
Air Side
9 | Air handling unit, 12,000 CFM | 2 | EA | 6200 | 54000
10 | VAV box with reheat coil | 38 | EA | 420 | 1650
11 | Galvanized ductwork | 14200 | LBS | 4.7 | 2.5
Subtotal (Air Side)
Plumbing
12 | Water closet, wall hung with carrier | 24 | EA | 360 | 920
13 | Lavatory with sensor faucet | 22 | EA | 290 | 780
14 | Domestic water piping, copper | 1450 | LF | 18 | 14
Subtotal (Plumbing)
Subtotal
| Overhead and Profit | [6 empty] | 15%
| Insurance | [6 empty] | 5%
| Contingency | [6 empty] | 5%
Total Suggested Bid
Clarifications (example): prices exclude permits, bonds and sales tax unless shown.
Quantities are measured from drawings and listed with units. Unit costs are example rates for illustration.
A real Nextron estimate is priced for your project location using RSMeans data, local supplier pricing and our cost database.